## Take-off (449 manual)
Section | Group | Code | Description | Unit | 4PLEX-A | 4PLEX-B | 6PLEX-A | 6PLEX-B | 8PLEX-A | 8PLEX-B | Comm Ctr | Guard House | Bndry Wall | Total Qty | Rate (AED) | Amount (AED) | Notes
Q | Pipeworks | A | 20mm diameter | m | 57 | 57 | 74 | 74 | 91 | 91 | 57 | 0 | 0 | 501
Q | Pipeworks | B | 25mm diameter | m | 27 | 27 | 34 | 34 | 42 | 42 | 77 | 0 | 0 | 283
Q | Pipeworks | C | 32mm diameter | m | 20 | 20 | 29 | 29 | 38 | 38 | 8 | 0 | 0 | 182
Q | Pipeworks | D | Allow Water Pipe Connection from External Network | Item | 4 | 4 | 6 | 6 | 8 | 8 | 1 | 1 | 0 | 38
Q | Pipeworks | E | Allow Water Pipe Connection from DEWA Network | Item | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | Pipeworks | F | 20mm diameter | m | 157 | 157 | 236 | 236 | 316 | 316 | 46 | 6 | 0 | 1470
Q | Pipeworks | G | 25mm diameter | m | 148 | 148 | 202 | 202 | 257 | 257 | 72 | 5 | 0 | 1291
Q | Pipeworks | H | 32mm diameter | m | 42 | 42 | 67 | 67 | 92 | 92 | 16 | 2 | 0 | 420
Q | Pipeworks | J | 40mm diameter | m | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 8
Q | Pipeworks | K | 50mm diameter | m | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 4
Q | Pipeworks | L | 20mm diameter | m | 83 | 83 | 120 | 120 | 156 | 156 | 10 | 0 | 0 | 728
Q | Pipeworks | M | 25mm diameter | m | 125 | 125 | 172 | 172 | 219 | 219 | 39 | 0 | 0 | 1071
Q | Pipeworks | N | 16mm diameter | m | 300 | 300 | 420 | 420 | 540 | 540 | 165 | 10 | 0 | 2695
Q | Insulation | A | For 20mm diameter pipe | m | 18 | 18 | 30 | 30 | 42 | 42 | 10 | 0 | 0 | 190
Q | Insulation | B | For 25mm diameter pipe | m | 37 | 37 | 53 | 53 | 69 | 69 | 15 | 0 | 0 | 333
Q | Water Meter (by DEWA) Assembly (in cabinet with 2 IVs) | C | 25mm diameter | No | 4 | 4 | 6 | 6 | 8 | 8 | 0 | 1 | 0 | 37
Q | Water Meter (by DEWA) Assembly (in cabinet with 2 IVs) | D | 32mm diameter | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | Sub-Water Meter Assembly (with 2 IV's) | E | 32mm diameter | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | Isolation Valve | F | 20mm diameter | No | 16 | 16 | 26 | 26 | 36 | 36 | 3 | 0 | 0 | 159
Q | Isolation Valve | G | 25mm diameter | No | 46 | 46 | 68 | 68 | 90 | 90 | 7 | 2 | 0 | 417
Q | Isolation Valve | H | 32mm diameter | No | 8 | 8 | 12 | 12 | 16 | 16 | 2 | 1 | 0 | 75
Q | Isolation Valve | J | 40mm diameter | No | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 4
Q | Isolation Valve | K | 50mm diameter | No | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2
Q | Non-Return Valve | L | 25mm diameter | No | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 0 | 0 | 13
Q | Non-Return Valve | M | 32mm diameter | No | 4 | 4 | 6 | 6 | 8 | 8 | 0 | 1 | 0 | 37
Q | Non-Return Valve | N | 40mm diameter | No | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2
Q | Y-Strainer | P | 25mm diameter | No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1
Q | Y-Strainer | Q | 32mm diameter | No | 4 | 4 | 6 | 6 | 8 | 8 | 0 | 0 | 0 | 36
Q | Y-Strainer | R | 40mm diameter | No | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2
Q | Thermostatic Mixing Valve | S | 20mm diameter | No | 4 | 4 | 6 | 6 | 8 | 8 | 1 | 0 | 0 | 37
Q | Thermostatic Mixing Valve | U | Water Hammer Arrestor | No | 4 | 4 | 6 | 6 | 8 | 8 | 1 | 1 | 0 | 38
Q | Thermostatic Mixing Valve | V | Automatic Air Vent | No | 8 | 8 | 12 | 12 | 16 | 16 | 2 | 0 | 0 | 74
Q | Equipments | A | CWSBP, 0.5 L/s @ 19m Head (1D) | Set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1
Q | Equipments | B | CWSBP, 1.0 L/s @ 30m Head (1D) | Set | 4 | 4 | 6 | 6 | 8 | 8 | 0 | 0 | 0 | 36
Q | Equipments | C | CWSBP, 1.6 L/s @ 30m Head (1D/1S) | Set | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | Equipments | D | 500 Gal. Water Storage | Set | 2 | 2 | 4 | 4 | 6 | 6 | 0 | 0 | 0 | 24
Q | Equipments | E | 600 Gal. Water Storage | Set | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 12
Q | Equipments | F | 50 Gal. Water Storage | Set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1
Q | Equipments | G | 2500 Gal. Water Storage | Set | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | Equipments | H | 200 Ltr. Capacity | Set | 2 | 2 | 4 | 4 | 6 | 6 | 0 | 0 | 0 | 24
Q | Equipments | J | 300 Ltr. Capacity | Set | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 0 | 0 | 13
Q | Pipeworks | A | 40mm diameter | m | 28 | 28 | 40 | 40 | 52 | 52 | 5 | 1 | 0 | 246
Q | Pipeworks | B | 50mm diameter | m | 52 | 52 | 77 | 77 | 102 | 102 | 4 | 0 | 0 | 466
Q | Pipeworks | C | 82mm diameter | m | 73 | 73 | 104 | 104 | 135 | 135 | 37 | 5 | 0 | 666
Q | Pipeworks | D | 110mm diameter | m | 166 | 166 | 228 | 228 | 290 | 290 | 133 | 3 | 0 | 1504
Q | Pipeworks | E | 160mm diameter | m | 10 | 10 | 15 | 15 | 20 | 20 | 83 | 2 | 0 | 175
Q | Pipeworks | F | Allow Drainage Connection to External Network | Item | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 8
Q | Pipeworks | G | 40mm diameter | m | 54 | 54 | 73 | 73 | 91 | 91 | 42 | 1 | 0 | 479
Q | Pipeworks | H | 50mm diameter | m | 21 | 21 | 35 | 35 | 48 | 48 | 10 | 0 | 0 | 218
Q | Pipeworks | J | 82mm diameter | m | 101 | 101 | 141 | 141 | 182 | 182 | 65 | 4 | 0 | 917
Q | Pipeworks | K | 110mm diameter | m | 194 | 194 | 272 | 272 | 349 | 349 | 98 | 5 | 0 | 1733
Q | Pipeworks | L | 160mm diameter | m | 0 | 0 | 0 | 0 | 0 | 0 | 18 | 0 | 0 | 18
Q | Pipeworks | M | 25mm diameter | m | 90 | 90 | 122 | 122 | 155 | 155 | 66 | 7 | 0 | 807
Q | Pipeworks | N | 32mm diameter | m | 21 | 21 | 41 | 41 | 62 | 62 | 41 | 0 | 0 | 289
Q | Pipeworks | P | 40mm diameter | m | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 8
Q | Pipeworks | Q | 32mm diameter (U/G) | m | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 16
Q | Pipeworks | R | 40mm diameter (U/G) | m | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 3
Q | Pipeworks (Cont'd) | A | 82mm diameter | m | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 0 | 0 | 13
Q | Acoustic Insulation | B | for 40mm diameter pipe | m | 27 | 27 | 34 | 34 | 40 | 40 | 0 | 0 | 0 | 202
Q | Acoustic Insulation | C | for 82mm diameter pipe | m | 14 | 14 | 18 | 18 | 21 | 21 | 0 | 0 | 0 | 106
Q | Acoustic Insulation | D | for 110mm diameter pipe | m | 105 | 105 | 153 | 153 | 200 | 200 | 0 | 0 | 0 | 916
Q | Sanitary Specialties | E | Floor Drain, (Ref. FD) | No | 28 | 28 | 40 | 40 | 52 | 52 | 15 | 1 | 0 | 256
Q | Sanitary Specialties | H | Planter Drain, (Ref. PD) | No | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 7
Q | Sanitary Specialties | J | Clean Out, (Ref. CO) | No | 18 | 18 | 24 | 24 | 30 | 30 | 13 | 0 | 0 | 157
Q | Sanitary Specialties | K | Floor Clean Out, (Ref. FCO) | No | 8 | 8 | 12 | 12 | 16 | 16 | 7 | 0 | 0 | 79
Q | Sanitary Specialties | L | Rain Water Outlet, (Ref. RWO) | No | 6 | 6 | 8 | 8 | 10 | 10 | 6 | 0 | 0 | 54
Q | Sanitary Specialties | M | Vent Cowl | No | 8 | 8 | 12 | 12 | 16 | 16 | 3 | 0 | 0 | 75
Q | Sanitary Specialties | N | SS Flapper | No | 6 | 6 | 8 | 8 | 10 | 10 | 6 | 1 | 0 | 55
Q | DRAINAGE SYSTEM (CONT'D) | A | Final Inspection Chamber, (Ref. FIC) | No | 4 | 4 | 6 | 6 | 8 | 8 | 0 | 0 | 0 | 36
Q | DRAINAGE SYSTEM (CONT'D) | C | Cleanout Chamber | No | 4 | 4 | 6 | 6 | 8 | 8 | 1 | 0 | 0 | 37
Q | DRAINAGE SYSTEM (CONT'D) | D | MH-01, 600mm x 600mm, 0.95m depth | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | DRAINAGE SYSTEM (CONT'D) | E | MH-02, 600mm x 600mm, 1.25m depth | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | DRAINAGE SYSTEM (CONT'D) | F | MH-03, 800mm x 800mm, 1.5m depth | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | DRAINAGE SYSTEM (CONT'D) | G | MH-04A, 800mm x 800mm, 1.1m depth | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | DRAINAGE SYSTEM (CONT'D) | H | MH-04, 600mm x 600mm, 1.7m depth | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | DRAINAGE SYSTEM (CONT'D) | J | FIC, 800mm x 800mm, 1.2m depth | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | DRAINAGE SYSTEM (CONT'D) | K | Manhole, (Ref. MH-01), 0.9m depth | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 2
Q | DRAINAGE SYSTEM (CONT'D) | M | Pressure Break Chamber, (Ref. PBC) | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | DRAINAGE SYSTEM (CONT'D) | P | Sump Pit, 1.5m x 1.5m x 1.5m | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | Channel Trench Drain with Grating | Q | 1025mm Length | No | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2
Q | Channel Trench Drain with Grating | R | 1500mm Length | No | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2
Q | Channel Trench Drain with Grating | S | 3000mm Length | No | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2
Q | Equipments | T | Sump Pump, 1.2 L/s @ 15m head (1D/1A) | Set | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | Sanitary Fixtures | C | SW-102, Bidet Spray | No | 18 | 18 | 26 | 26 | 34 | 34 | 0 | 0 | 0 | 156
Q | Sanitary Fixtures | P | SW-300, Manual Flush Plate | No | 14 | 14 | 20 | 20 | 26 | 26 | 0 | 0 | 0 | 120
Q | Sanitary Fixtures | Q | SW-308, Square Floor Drain Cover | No | 26 | 26 | 38 | 38 | 50 | 50 | 0 | 0 | 0 | 228
Q | Sanitary Fixtures (Cont'd) | B | KW-101, Double Bowl Sink | No | 4 | 4 | 6 | 6 | 8 | 8 | 0 | 0 | 0 | 36
Q | Sanitary Fixtures (Cont'd) | C | KW-101.1, Drip Tray | No | 4 | 4 | 6 | 6 | 8 | 8 | 0 | 0 | 0 | 36
Q | Multipurpose Pantry | F | KE-102, Double Bowl Sink | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | Multipurpose Pantry | H | EQ-105, Drip Tray | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | Public Area (FOH) | C | SW-102, Bidet Spray | No | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 6
Q | Public Area (FOH) | K | SW-202, Urinal | No | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 3
Q | Public Area (FOH) | N | SW-205, Janitor's Sink | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | Public Area (FOH) | P | SW-300, Sensor Flush Plate | No | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 9
Q | Public Area (FOH) | Q | SW-308, Tile Insert - Square Floor Drain Cover | No | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 0 | 0 | 11
Q | Public Area (BOH) | D | SW-104, Bidet Spray | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | Public Area (BOH) | E | SW-111, Floor Drain Cover (Tile Insert - Square) | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | Public Area (BOH) | J | SW-04, Bidet Spray | No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1
Q | Public Area (BOH) | K | SW-08, Floor Drain Cover (Tile Insert - Square) | No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1
Q | Pipeworks | A | 25mm diameter | m | 21 | 21 | 32 | 32 | 44 | 44 | 0 | 0 | 0 | 194
Q | Pipeworks | B | Allow LPG Connection from External Network | Item | 4 | 4 | 6 | 6 | 8 | 8 | 0 | 0 | 0 | 36
Q | Copper | C | 15mm diameter | m | 55 | 55 | 84 | 84 | 112 | 112 | 0 | 0 | 0 | 502
Q | Copper | D | 15mm diameter (in 25mm dimater GRP sleeve) | m | 12 | 12 | 18 | 18 | 24 | 24 | 0 | 0 | 0 | 108
Q | Valves and accessories | E | Gas Meter Assembly (in 500mm x 500mm x 250mm cabinet), 25mm diametet | No | 4 | 4 | 6 | 6 | 8 | 8 | 0 | 0 | 0 | 36
Q | Valves and accessories | F | Auto Shut-off Valve | No | 4 | 4 | 6 | 6 | 8 | 8 | 0 | 0 | 0 | 36
Q | Valves and accessories | G | Gas Detector, (Ref. GD) | No | 8 | 8 | 12 | 12 | 16 | 16 | 0 | 0 | 0 | 72
Q | Pipeworks | A | 25mm diameter (UG) | m | 0 | 0 | 0 | 0 | 0 | 0 | 62 | 0 | 0 | 62
Q | Pipeworks | B | 32mm diameter (UG) | m | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 0 | 0 | 14
Q | Pipeworks | C | Allow pipeworks Connection from External Network | Item | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | Pipeworks | D | 25mm diameter | m | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 6
Q | Valves and accessories | E | OS&Y Valve, 32mm diameter | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | Valves and accessories | F | Check Valve, 32mm diameter | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | Valves and accessories | G | Valve Chamber with PRS, 32mm diameter | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | Fire Extinguisher (Surface Mounted Type) | H | 2.5kg Multi Purpose Dry Powder Fire Extinguisher | No | 4 | 4 | 6 | 6 | 8 | 8 | 0 | 1 | 0 | 37
Q | Fire Extinguisher (Surface Mounted Type) | J | 5 kg CO2 Fire Extinguisher | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | Fire Hose Cabinet | K | Ref. FHC | No | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2
Q | Duct work | A | Supply air duct | m² | 130 | 130 | 180 | 180 | 229 | 229 | 119 | 0 | 0 | 1197
Q | Duct work | B | Return air duct | m² | 3 | 3 | 3 | 3 | 3 | 3 | 0 | 0 | 0 | 18
Q | Duct work | C | 200mm diameter | m | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 0 | 0 | 30
Q | Duct work | D | Fresh air duct | kg | 7 | 7 | 10 | 10 | 14 | 14 | 108 | 0 | 0 | 170
Q | Duct work | E | Extract air duct | kg | 284 | 284 | 415 | 415 | 546 | 546 | 302 | 7 | 0 | 2799
Q | Duct work | F | 100mm diameter | m | 28 | 28 | 36 | 36 | 44 | 44 | 0 | 0 | 0 | 216
Q | Duct work | G | 150mm diameter | m | 8 | 8 | 8 | 8 | 8 | 8 | 26 | 0 | 0 | 74
Q | Duct work | H | 200mm diameter | m | 32 | 32 | 53 | 53 | 73 | 73 | 5 | 0 | 0 | 321
Q | Duct work | J | 250mm diameter | m | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 19
Q | Acoustic Lining | K | 25mm thick fiberglass, 24 kg/m3 density | m² | 47 | 47 | 63 | 63 | 78 | 78 | 33 | 0 | 0 | 409
Q | Flexible duct work | A | 100 mm diameter | m | 20 | 20 | 30 | 30 | 40 | 40 | 0 | 0 | 0 | 180
Q | Flexible duct work | B | 150 mm diameter | m | 4 | 4 | 6 | 6 | 8 | 8 | 17 | 1 | 0 | 54
Q | Flexible duct work | C | 200 mm diameter | m | 26 | 26 | 36 | 36 | 46 | 46 | 85 | 0 | 0 | 301
Q | Refrigerant Pipeworks | D | Supply and installation of refrigerant pipe work, including fittings, fixings, accessories, insulation, testing and commissioning to complete the works in accordance with the drawings and specifications. | m | 474 | 474 | 628 | 628 | 781 | 781 | 483 | 8 | 0 | 4257
Q | Supply Linear Bar Grille | A | SLBG-01, 1000mm L x 100mm H | No | 6 | 6 | 8 | 8 | 10 | 10 | 0 | 0 | 0 | 48
Q | Supply Linear Bar Grille | B | SLBG-02, 1500/1200mm L x 100mm H | No | 4 | 4 | 6 | 6 | 8 | 8 | 0 | 0 | 0 | 36
Q | Return Linear Bar Grille | C | RLBG-01, 1000mm L x 100mm H | No | 4 | 4 | 6 | 6 | 8 | 8 | 0 | 0 | 0 | 36
Q | Return Linear Bar Grille | D | RLBG-02, 1500mm L x 100mm H | No | 2 | 2 | 4 | 4 | 6 | 6 | 0 | 0 | 0 | 24
Q | Return Linear Bar Grille | E | RLBG-04, 2000mm L x 100mm H | No | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 12
Q | Supply Linear Slot Diffuser | F | SLSD-02, 2-Slot x 20mm Width, 1000mm L | No | 22 | 22 | 34 | 34 | 46 | 46 | 35 | 0 | 0 | 239
Q | Supply Linear Slot Diffuser | G | SLSD-03, 2-Slot x 20mm Width, 500mm L | No | 6 | 6 | 6 | 6 | 6 | 6 | 2 | 0 | 0 | 38
Q | Supply Linear Slot Diffuser | H | SLSD-04, 2-Slot x 20mm Width, 1500mm L | No | 0 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 24
Q | Return Linear Slot Diffuser | J | RLSD-02, 2-Slot x 20mm Width, 1000mm L | No | 22 | 22 | 34 | 34 | 46 | 46 | 45 | 0 | 0 | 249
Q | Return Linear Slot Diffuser | K | RLSD-03, 2-Slot x 20mm Width, 500mm L | No | 6 | 6 | 6 | 6 | 6 | 6 | 8 | 0 | 0 | 44
Q | Return Linear Slot Diffuser | L | RLSD-04, 2-Slot x 20mm Width, 1500mm L | No | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 12
Q | Supply Grille | A | SG-06, 650mm x 150mm | No | 4 | 4 | 8 | 8 | 12 | 12 | 0 | 0 | 0 | 48
Q | Supply Grille | B | SG-07, 750mm x 150mm | No | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 12
Q | Supply Grille | C | SG-08, 800mm x 150mm | No | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 12
Q | Return Grille | D | RG-06, 650mm x 150mm | No | 4 | 4 | 8 | 8 | 12 | 12 | 0 | 0 | 0 | 48
Q | Return Grille | E | RG-07, 750mm x 150mm | No | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 12
Q | Return Grille | F | RG-08, 800mm x 150mm | No | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 12
Q | Return Grille | G | Dummy Grille, 2000mm x 100mm | No | 4 | 4 | 4 | 4 | 4 | 4 | 0 | 0 | 0 | 24
Q | Exhaust Linear Slot Diffuser | H | ELSD-01, 1-Slot x 500mm L | No | 2 | 2 | 4 | 4 | 6 | 6 | 0 | 0 | 0 | 24
Q | Exhaust Linear Slot Diffuser | J | ELSD-02, 2-Slot x 1000mm L | No | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 12
Q | Exhaust Air Grille | K | EAG, 150mm x 150mm | No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1
Q | Exhaust Air Grille | L | EAG, 300mm x 150mm | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | Exhaust Air Grille | M | EAG, 350mm x 200mm | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | Exhaust Air Grille | N | EAG, 350mm x 250mm | No | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 3
Q | Exhaust Air Grille | P | EAG, 450mm x 250mm | No | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2
Q | Exhaust Disc Valve | A | EDV-01, 100mm diameter | No | 20 | 20 | 30 | 30 | 40 | 40 | 10 | 0 | 0 | 190
Q | Exhaust Disc Valve | B | EDV-02, 200mm diameter | No | 2 | 2 | 2 | 2 | 2 | 2 | 7 | 1 | 0 | 20
Q | Fresh Air Louver with Sand Trap | C | FAL, 300mm x 200mm | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | Fresh Air Louver with Sand Trap | D | FAL, 300mm x 250mm | No | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 3
Q | Fresh Air Louver with Sand Trap | E | FAL, 350mm x 200mm | No | 2 | 2 | 4 | 4 | 6 | 6 | 0 | 0 | 0 | 24
Q | Fresh Air Louver with Sand Trap | F | FAL, 350mm x 350mm | No | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 12
Q | Fresh Air Louver with Sand Trap | G | FAL, 450mm x 250mm | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | Fresh Air Louver with Sand Trap | H | FAL, 500mm x 300mm | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | Exhaust Air Louver | J | EAL, 350mm x 300mm | No | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2
Q | Exhaust Air Louver | K | EAL, 400mm x 150mm | No | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2
Q | Exhaust Air Louver | L | EAL, 400mm x 200mm | No | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 12
Q | Exhaust Air Louver | M | EAL, 500mm x 250mm | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | Volume Control Damper | A | VCD, 100mm diameter | No | 12 | 12 | 16 | 16 | 20 | 20 | 0 | 0 | 0 | 96
Q | Volume Control Damper | B | VCD, 150mm diameter | No | 2 | 2 | 2 | 2 | 2 | 2 | 9 | 0 | 0 | 21
Q | Volume Control Damper | C | VCD, 200mm diameter | No | 6 | 6 | 10 | 10 | 14 | 14 | 81 | 0 | 0 | 141
Q | Volume Control Damper | D | VCD, 150mm x 100mm | No | 4 | 4 | 6 | 6 | 8 | 8 | 17 | 0 | 0 | 53
Q | Volume Control Damper | E | VCD, 150mm x 150mm | No | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 12
Q | Volume Control Damper | F | VCD, 200mm x 100mm | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | Volume Control Damper | G | VCD, 200mm x 150mm | No | 6 | 6 | 10 | 10 | 14 | 14 | 2 | 0 | 0 | 62
Q | Volume Control Damper | H | VCD, 200mm x 200mm | No | 16 | 16 | 22 | 22 | 28 | 28 | 3 | 0 | 0 | 135
Q | Volume Control Damper | J | VCD, 250mm x 150mm | No | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2
Q | Volume Control Damper | K | VCD, 300mm x 250mm | No | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2
Q | Volume Control Damper | L | VCD, 350mm x 200mm | No | 6 | 6 | 10 | 10 | 14 | 14 | 0 | 0 | 0 | 60
Q | Volume Control Damper | M | VCD, 350mm x 250mm | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | Volume Control Damper | N | VCD, 400mm x 200mm | No | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 12
Q | Volume Control Damper | P | VCD, 400mm x 250mm | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | Volume Control Damper | Q | VCD, 700mm x 150mm | No | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 12
Q | Non-Return Damper | R | NRD, 150mm x 100mm | No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1
Q | Non-Return Damper | S | NRD, 200mm x 150mm | No | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2
Q | Non-Return Damper | T | NRD, 200mm x 200mm | No | 4 | 4 | 6 | 6 | 8 | 8 | 1 | 0 | 0 | 37
Q | Non-Return Damper | U | NRD, 250mm x 200mm | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | Non-Return Damper | V | NRD, 250mm x 250mm | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | Non-Return Damper | W | NRD, 300mm x 250mm | No | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2
Q | INSTALLATIONS (CONT'D) | A | 3B-FCU-GF-01, 12.0 kW Total Cooling Capacity | Set | 2 | 2 | 4 | 4 | 6 | 6 | 0 | 0 | 0 | 24
Q | INSTALLATIONS (CONT'D) | B | 3B--FCU-GF-02, 1.9 kW Total Cooling Capacity | Set | 2 | 2 | 4 | 4 | 6 | 6 | 0 | 0 | 0 | 24
Q | INSTALLATIONS (CONT'D) | C | 3B--FCU-FF-01, 4.8 kW Total Cooling Capacity | Set | 2 | 2 | 4 | 4 | 6 | 6 | 0 | 0 | 0 | 24
Q | INSTALLATIONS (CONT'D) | D | 3B-FCU-FF-02, 6.2 kW Total Cooling Capacity | Set | 2 | 2 | 4 | 4 | 6 | 6 | 0 | 0 | 0 | 24
Q | INSTALLATIONS (CONT'D) | E | 4B-FCU-GF-01, 11.5 kW Total Cooling Capacity | Set | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 12
Q | INSTALLATIONS (CONT'D) | F | 4B-FCU-GF-02, 2.2 kW Total Cooling Capacity | Set | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 12
Q | INSTALLATIONS (CONT'D) | G | 4B-FCU-GF-03, 1.3 kW Total Cooling Capacity | Set | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 12
Q | INSTALLATIONS (CONT'D) | H | 4B-FCU-FF-01, 4.1 kW Total Cooling Capacity | Set | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 12
Q | INSTALLATIONS (CONT'D) | J | 4B-FCU-FF-02, 4.1 kW Total Cooling Capacity | Set | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 12
Q | INSTALLATIONS (CONT'D) | K | 4B-FCU-FF-03, 6.6 kW Total Cooling Capacity | Set | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 12
Q | INSTALLATIONS (CONT'D) | L | FCU-CH-01, 8.9 kW Total Cooling Capacity | Set | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | INSTALLATIONS (CONT'D) | M | FCU-CH-02, 8.9 kW Total Cooling Capacity | Set | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | INSTALLATIONS (CONT'D) | N | FCU-CH-03, 8.9 kW Total Cooling Capacity | Set | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | INSTALLATIONS (CONT'D) | P | FCU-GY-01, 9.7 kW Total Cooling Capacity | Set | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | INSTALLATIONS (CONT'D) | Q | FCU-GY-02, 9.7 kW Total Cooling Capacity | Set | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | INSTALLATIONS (CONT'D) | R | FCU-GY-03, 9.7 kW Total Cooling Capacity | Set | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | INSTALLATIONS (CONT'D) | S | FCU-GY-04, 9.7 kW Total Cooling Capacity | Set | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | INSTALLATIONS (CONT'D) | T | FCU-YO-01, 9.5 kW Total Cooling Capacity | Set | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | INSTALLATIONS (CONT'D) | U | FCU-YO-02, 9.5 kW Total Cooling Capacity | Set | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | INSTALLATIONS (CONT'D) | V | FCU-SB-01, 6.1 kW Total Cooling Capacity | Set | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | INSTALLATIONS (CONT'D) | W | FCU-SB-02, 5.8 kW Total Cooling Capacity | Set | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | INSTALLATIONS (CONT'D) | X | FCU-SB-03, 2.7 kW Total Cooling Capacity | Set | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | INSTALLATIONS (CONT'D) | Y | FCU-SB-04, 2.4 kW Total Cooling Capacity | Set | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | INSTALLATIONS (CONT'D) | Z | FCU-SB-05, 2.1 kW Total Cooling Capacity | Set | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | INSTALLATIONS (CONT'D) | AA | FCU-SB-06, 8.1 kW Total Cooling Capacity | Set | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | INSTALLATIONS (CONT'D) | AB | GH-GF-01, 6.8 kW Total Cooling Capacity | Set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1
Q | INSTALLATIONS (CONT'D) | A | ERV-SB-01, 240 L/s | Set | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | INSTALLATIONS (CONT'D) | B | 3B-EAF-01, 108 L/s @ 100 Pa | Set | 2 | 2 | 4 | 4 | 6 | 6 | 0 | 0 | 0 | 24
Q | INSTALLATIONS (CONT'D) | C | 4B-EAF-01, 121 L/s @ 100 Pa | Set | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 12
Q | INSTALLATIONS (CONT'D) | D | 5B-EAF-01, 146 L/s @ 100 Pa | Set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Q | INSTALLATIONS (CONT'D) | E | EAF-CH-01, 112 L/s @ 100 Pa | Set | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | INSTALLATIONS (CONT'D) | F | EAF-GY-01, 215 L/s @ 100 Pa | Set | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | INSTALLATIONS (CONT'D) | G | EAF-YO-01, 105 L/s @ 100 Pa | Set | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | INSTALLATIONS (CONT'D) | H | EAF-SB-01, 50 L/s @ 100 Pa | Set | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | INSTALLATIONS (CONT'D) | J | EAF-SB-02, 72 L/s @ 150 Pa | Set | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | INSTALLATIONS (CONT'D) | K | GH-EAF-01, 25 L/s @ 100 Pa | Set | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1
Q | INSTALLATIONS (CONT'D) | L | Scent Unit | Set | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 0 | 0 | 11
Q | BUILDING MANAGEMENT SYSTEM | A | BMS software and operating system | Item | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | BUILDING MANAGEMENT SYSTEM | C | Operator work stations and terminals including printers | Item | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | BUILDING MANAGEMENT SYSTEM | D | BACnet controllers including enclosures and Panels | Item | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | BUILDING MANAGEMENT SYSTEM | F | Specified BACnet controllers | Item | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | BUILDING MANAGEMENT SYSTEM | H | Cables for control, instrumentation and special communication | Item | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | BUILDING MANAGEMENT SYSTEM | J | Interfacing with other ELV systems | Item | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | Others | K | Training of Employer's Staff | Item | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Q | SUNDRIES | A | Identification including plates, discs, labels, colour coding and the like | Item | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Q | SUNDRIES | B | Testing and commissioning including operating completed installations and providing fuel and power | Item | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Q | SUNDRIES | C | Tools and spares including loose keys and consumables | Item | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Q | SUNDRIES | D | Documents including drawings, operating instructions and maintenance manuals | Item | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Q | Incidental Work | E | Co-ordination with other engineering installations | Item | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Q | Incidental Work | F | Specific builder's work associated with plant and equipment including bases and associated ducts, sleeves supports etc complete | Item | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Q | Incidental Work | G | General builders work including cutting or forming holes, mortices chases and the like and making good finishing | Item | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Q | Protective Paintings | H | Painting to mechanical engineering systems including removing protective coating and wrapping | Item | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
R | Capacitor bank | D | Capacitor bank, 70kVAR | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
R | Sub-main Distribution Boards | E | SMDB-CC, TCL:220kW | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
R | Cable Containment | C | 25mm to 32mm Dia uPVC conduit with recessed JB for EV charger provision | m | 36 | 36 | 54 | 54 | 72 | 72 | 0 | 0 | 0 | 324
R | Cable Containment | D | 25mm Dia uPVC duct for IMS (water meter) | m | 40 | 40 | 56 | 56 | 72 | 72 | 0 | 0 | 0 | 336
R | Cable Containment | E | Allow uPVC duct for main incoming cables from DEWA / infra network | m | 24 | 24 | 36 | 36 | 48 | 48 | 0 | 6 | 0 | 222
R | Cables | F | 2Cx4 SQ.mm XLPE/SWA/PVC/Cu+1Cx4 SQ.mm PVC/Cu ECC | m | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 52 | 0 | 143
R | Cables | G | 2Cx6 SQ.mm XLPE/SWA/PVC/Cu+1Cx6 SQ.mm PVC/Cu ECC | m | 454 | 454 | 684 | 684 | 914 | 914 | 448 | 16 | 0 | 4568
R | Cables | H | 2Cx10 SQ.mm XLPE/SWA/PVC/Cu+1Cx10 SQ.mm PVC/Cu ECC | m | 162 | 162 | 202 | 202 | 242 | 242 | 55 | 0 | 0 | 1267
R | Cables | J | 4Cx6 SQ.mm XLPE/SWA/PVC/Cu+1Cx6 SQ.mm PVC/Cu ECC | m | 0 | 0 | 0 | 0 | 0 | 0 | 22 | 0 | 0 | 22
R | Cables | K | 4Cx10 SQ.mm XLPE/SWA/PVC/Cu+1Cx10 SQ.mm PVC/Cu ECC | m | 42 | 42 | 84 | 84 | 126 | 126 | 191 | 12 | 0 | 707
R | Cables | L | 4Cx16 SQ.mm XLPE/SWA/PVC/Cu+1Cx16 SQ.mm PVC/Cu ECC | m | 66 | 66 | 96 | 96 | 126 | 126 | 193 | 0 | 0 | 769
R | Cables | M | 4Cx25 SQ.mm XLPE/SWA/PVC/Cu+1Cx16 SQ.mm PVC/Cu ECC | m | 32 | 32 | 32 | 32 | 32 | 32 | 26 | 0 | 0 | 218
R | Cables | N | 4Cx70 SQ.mm XLPE/SWA/PVC/Cu+1Cx35 SQ.mm PVC/Cu ECC | m | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 8
R | Cables | P | 4Cx95 SQ.mm XLPE/SWA/PVC/Cu+1Cx50 SQ.mm PVC/Cu ECC | m | 0 | 0 | 0 | 0 | 0 | 0 | 55 | 0 | 0 | 55
R | Cables | Q | 4Cx300 SQ.mm XLPE/SWA/PVC/Cu+1Cx150 SQ.mm PVC/Cu ECC | m | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 23
R | Small Power Installation | E | Flex Outlet | No | 16 | 16 | 24 | 24 | 32 | 32 | 3 | 0 | 0 | 147
R | Small Power Installation | K | Pilot Indicator with LED | No | 4 | 4 | 6 | 6 | 8 | 8 | 0 | 0 | 0 | 36
R | Small Power Installation | M | Junction Box | No | 8 | 8 | 12 | 12 | 16 | 16 | 11 | 0 | 0 | 83
R | Small Power Installation | P | Media hub | No | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2
R | Small Power Installation | Q | Push Button for Gate Barrier | No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1
R | Small Power Installation | R | Door bell push button | No | 4 | 4 | 6 | 6 | 8 | 8 | 0 | 0 | 0 | 36
R | Small Power Installation | S | Door chime | No | 4 | 4 | 6 | 6 | 8 | 8 | 0 | 0 | 0 | 36
R | Small Power Installation (Cont'd) | E | Flex Outlet | No | 16 | 16 | 24 | 24 | 32 | 32 | 3 | 0 | 0 | 147
R | Small Power Installation (Cont'd) | K | Pilot Indicator with LED | No | 4 | 4 | 6 | 6 | 8 | 8 | 0 | 0 | 0 | 36
R | Small Power Installation (Cont'd) | M | Junction Box | No | 8 | 8 | 12 | 12 | 16 | 16 | 11 | 0 | 0 | 83
R | Small Power Installation (Cont'd) | P | Media hub | No | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2
R | Small Power Installation (Cont'd) | Q | Push Button for Gate Barrier | No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1
R | Small Power Installation (Cont'd) | R | Door bell push button | No | 4 | 4 | 6 | 6 | 8 | 8 | 0 | 0 | 0 | 36
R | Small Power Installation (Cont'd) | S | Door chime | No | 4 | 4 | 6 | 6 | 8 | 8 | 0 | 0 | 0 | 36
R | Lighting Installation | A | Ref. LTA1.1 | No | 36 | 36 | 48 | 48 | 60 | 60 | 0 | 0 | 0 | 288
R | Lighting Installation | B | Ref. LTA1.2 | No | 8 | 8 | 12 | 12 | 16 | 16 | 0 | 0 | 0 | 72
R | Lighting Installation | C | Ref. LTA1.3 | No | 30 | 30 | 42 | 42 | 54 | 54 | 0 | 0 | 0 | 252
R | Lighting Installation | D | Ref. LTA1.4 | No | 16 | 16 | 22 | 22 | 28 | 28 | 0 | 0 | 0 | 132
R | Lighting Installation | E | Ref. LTA2.1, Linear lighting | m | 204 | 194 | 306 | 296 | 408 | 398 | 6 | 0 | 0 | 1812
R | Lighting Installation | F | Ref. LTA2.2, Linear lighting | m | 34 | 34 | 50 | 50 | 66 | 66 | 10 | 0 | 0 | 310
R | Lighting Installation | G | Ref. LTA3.1 | No | 22 | 22 | 32 | 32 | 42 | 42 | 0 | 0 | 0 | 192
R | Lighting Installation | H | Ref. LTA3.2 | No | 4 | 4 | 6 | 6 | 8 | 8 | 0 | 0 | 0 | 36
R | Lighting Installation | J | Ref. LTA4.1 | No | 4 | 4 | 6 | 6 | 8 | 8 | 12 | 0 | 0 | 48
R | Lighting Installation | K | Ref. LTA4.2 | No | 8 | 8 | 12 | 12 | 16 | 16 | 0 | 0 | 0 | 72
R | Lighting Installation | L | Ref. LTA4.3 | No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
R | Lighting Installation | M | Ref. LTA5.1 | No | 4 | 4 | 4 | 4 | 4 | 4 | 0 | 0 | 0 | 24
R | Lighting Installation | N | Ref. LTA5.2 | No | 4 | 4 | 8 | 8 | 12 | 12 | 0 | 0 | 0 | 48
R | Lighting Installation | P | Ref. LTA5.3 | No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
R | Lighting Installation | Q | Ref. LTA6.1 | No | 8 | 8 | 12 | 12 | 16 | 16 | 0 | 0 | 0 | 72
R | Lighting Installation | R | Ref. LTA7.2 | No | 8 | 8 | 12 | 12 | 16 | 16 | 0 | 0 | 0 | 72
R | Lighting Installation | S | Ref. LTA8.1 | No | 4 | 4 | 6 | 6 | 8 | 8 | 0 | 0 | 0 | 36
R | Lighting Installation | T | Ref. LTA9.1 | No | 24 | 24 | 32 | 32 | 40 | 40 | 0 | 0 | 0 | 192
R | Lighting Installation | U | Ref. DL-106 | No | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 4
R | Lighting Installation | V | Ref. DL-200 | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
R | Lighting Installation | W | Ref. DL-202 | No | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 6
R | Lighting Installation | X | Ref. EX-1 | No | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 12
R | Lighting Installation | Y | Ref. EX-3 | No | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 2 | 0 | 6
R | Lighting Installation (Cont'd) | A | Ref. F1 | No | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 9
R | Lighting Installation (Cont'd) | B | Ref. F2 | No | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 7
R | Lighting Installation (Cont'd) | C | Ref. F4 | No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2
R | Lighting Installation (Cont'd) | D | LT-01 | No | 0 | 0 | 0 | 0 | 0 | 0 | 18 | 0 | 0 | 18
R | Lighting Installation (Cont'd) | E | LT-02 | No | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 1 | 0 | 22
R | Lighting Installation (Cont'd) | F | Ref. LT-03, Linear lighting | m | 0 | 0 | 0 | 0 | 0 | 0 | 149 | 0 | 0 | 149
R | Lighting Installation (Cont'd) | G | Ref. LT-03a, LED decorative tube | No | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 3
R | Lighting Installation (Cont'd) | H | Ref. LT-04 | No | 0 | 0 | 0 | 0 | 0 | 0 | 27 | 0 | 0 | 27
R | Lighting Installation (Cont'd) | J | LT-05 | No | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 0 | 20
R | Lighting Installation (Cont'd) | K | LT-07 | No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2
R | Lighting Installation (Cont'd) | L | LT-15 | No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1
R | Lighting Installation (Cont'd) | M | LT-16 | No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2
R | Lighting Installation (Cont'd) | N | LT4.1 | No | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 12
R | Lighting Installation (Cont'd) | P | Ref. LTA10 - Provision only | No | 12 | 12 | 16 | 16 | 20 | 20 | 0 | 0 | 0 | 96
R | Lighting Installation (Cont'd) | Q | Junction box for future provision at low level | No | 4 | 4 | 6 | 6 | 8 | 8 | 0 | 0 | 0 | 36
R | Lighting Installation (Cont'd) | R | Junction box for washroom, above ceiling | No | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 4
R | Lighting Installation (Cont'd) | A | Ref. LTA1.1 | No | 36 | 36 | 48 | 48 | 60 | 60 | 0 | 0 | 0 | 288
R | Lighting Installation (Cont'd) | B | Ref. LTA1.2 | No | 8 | 8 | 12 | 12 | 16 | 16 | 0 | 0 | 0 | 72
R | Lighting Installation (Cont'd) | C | Ref. LTA1.3 | No | 30 | 30 | 42 | 42 | 54 | 54 | 0 | 0 | 0 | 252
R | Lighting Installation (Cont'd) | D | Ref. LTA1.4 | No | 16 | 16 | 22 | 22 | 28 | 28 | 0 | 0 | 0 | 132
R | Lighting Installation (Cont'd) | E | Ref. LTA2.1, Linear lighting | m | 204 | 194 | 306 | 296 | 408 | 398 | 6 | 0 | 0 | 1812
R | Lighting Installation (Cont'd) | F | Ref. LTA2.2, Linear lighting | m | 34 | 34 | 50 | 50 | 66 | 66 | 10 | 0 | 0 | 310
R | Lighting Installation (Cont'd) | G | Ref. LTA3.1 | No | 22 | 22 | 32 | 32 | 42 | 42 | 0 | 0 | 0 | 192
R | Lighting Installation (Cont'd) | H | Ref. LTA3.2 | No | 4 | 4 | 6 | 6 | 8 | 8 | 0 | 0 | 0 | 36
R | Lighting Installation (Cont'd) | J | Ref. LTA4.1 | No | 4 | 4 | 6 | 6 | 8 | 8 | 12 | 0 | 0 | 48
R | Lighting Installation (Cont'd) | K | Ref. LTA4.2 | No | 8 | 8 | 12 | 12 | 16 | 16 | 0 | 0 | 0 | 72
R | Lighting Installation (Cont'd) | L | Ref. LTA5.1 | No | 4 | 4 | 4 | 4 | 4 | 4 | 0 | 0 | 0 | 24
R | Lighting Installation (Cont'd) | M | Ref. LTA5.2 | No | 4 | 4 | 8 | 8 | 12 | 12 | 0 | 0 | 0 | 48
R | Lighting Installation (Cont'd) | N | Ref. LTA6.1 | No | 8 | 8 | 12 | 12 | 16 | 16 | 0 | 0 | 0 | 72
R | Lighting Installation (Cont'd) | P | Ref. LTA7.2 | No | 8 | 8 | 12 | 12 | 16 | 16 | 0 | 0 | 0 | 72
R | Lighting Installation (Cont'd) | Q | Ref. LTA8.1 | No | 4 | 4 | 6 | 6 | 8 | 8 | 0 | 0 | 0 | 36
R | Lighting Installation (Cont'd) | R | Ref. LTA9.1 | No | 24 | 24 | 32 | 32 | 40 | 40 | 0 | 0 | 0 | 192
R | Lighting Installation (Cont'd) | S | Ref. DL-106 (by Employer) | No | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 4
R | Lighting Installation (Cont'd) | T | Ref. DL-200 (by Employer) | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
R | Lighting Installation (Cont'd) | U | Ref. DL-202 (by Employer) | No | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 6
R | Lighting Installation (Cont'd) | V | Ref. EX-1 | No | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 12
R | Lighting Installation (Cont'd) | W | Ref. EX-3 | No | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 2 | 0 | 6
R | Lighting Installation (Cont'd) | A | Ref. F1 | No | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 9
R | Lighting Installation (Cont'd) | B | Ref. F2 | No | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 7
R | Lighting Installation (Cont'd) | C | Ref. F4 | No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2
R | Lighting Installation (Cont'd) | D | LT-01 | No | 0 | 0 | 0 | 0 | 0 | 0 | 18 | 0 | 0 | 18
R | Lighting Installation (Cont'd) | E | LT-02 | No | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 1 | 0 | 22
R | Lighting Installation (Cont'd) | F | Ref. LT-03, Linear lighting | m | 0 | 0 | 0 | 0 | 0 | 0 | 149 | 0 | 0 | 149
R | Lighting Installation (Cont'd) | G | Ref. LT-03a, LED decorative tube | No | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 3
R | Lighting Installation (Cont'd) | H | Ref. LT-04 | No | 0 | 0 | 0 | 0 | 0 | 0 | 27 | 0 | 0 | 27
R | Lighting Installation (Cont'd) | J | LT-05 | No | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 0 | 20
R | Lighting Installation (Cont'd) | K | LT-07 | No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2
R | Lighting Installation (Cont'd) | L | LT-15 | No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1
R | Lighting Installation (Cont'd) | M | LT-16 | No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2
R | Lighting Installation (Cont'd) | N | LT4.1 | No | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 12
R | Lighting Switches/Sensors | H | Occupancy/Presence sensor | No | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 17
R | Wiring Devices | H | Occupancy/Presence sensor | No | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 17
R | Emergency Lighting | A | Addressable compact & decorative edge exit light, maintained, recessed mounted type with glass finish legend laser printer IP20 | No | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 6
R | Emergency Lighting | B | Addressable emergency light, non-maintained, compact type, circular in shape, recess mounted IP55 | No | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 7
R | Emergency Lighting | C | Addressable emergency light, non-maintained, compact type, square or circular in shape, surface or semi-recess mounted IP55 | No | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 1 | 0 | 12
R | Emergency Lighting | D | Cabling to central monitoring panel | Item | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
R | Emergency Lighting | E | Addressable compact & decorative edge exit light, maintained, recessed mounted type with glass finish legend laser printer IP20 | No | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 6
R | Emergency Lighting | F | Addressable emergency light, non-maintained, compact type, circular in shape, recess mounted IP55 | No | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 7
R | Emergency Lighting | G | Addressable emergency light, non-maintained, compact type, square or circular in shape, surface or semi-recess mounted IP55 | No | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 1 | 0 | 12
R | Emergency Lighting | H | Central monitoring panel | Item | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
R | EARTHING SYSTEM | A | Earth pit with internal looping, copper earth electrode with | No | 4 | 4 | 6 | 6 | 8 | 8 | 2 | 1 | 0 | 39
R | resistance including inspection pit & cover | B | 1C 150mm2 Earth copper cables in a uPVC conduit | m | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 0 | 20
R | FIRE DETECTION AND ALARM SYSTEM | C | Fire sounder with flasher W/P | No | 4 | 4 | 6 | 6 | 8 | 8 | 0 | 0 | 0 | 36
R | FIRE DETECTION AND ALARM SYSTEM | L | Interface unit with dual input/output control & monitor module | No | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 3 | 0 | 7
R | FIRE DETECTION AND ALARM SYSTEM | P | Emergency break glass swimming pool | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
R | FIRE DETECTION AND ALARM SYSTEM | S | 24/7 Panel | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 2
R | DISABLED TOILET ALARM SYSTEM | A | Pull cord for disabled toilets with reset button | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
R | DISABLED TOILET ALARM SYSTEM | B | Visual annunciator for disabled toilet alarm | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
R | DISABLED TOILET ALARM SYSTEM | C | Remote reset button for toilet, W/P | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
R | DISABLED TOILET ALARM SYSTEM | D | Allow for disabled toilet alarm panel | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
R | TELEPHONE AND DATA SYSTEM | A | Single RJ45 data outlet | No | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 3
R | TELEPHONE AND DATA SYSTEM | B | Dual RJ45 data outlet | No | 26 | 26 | 38 | 38 | 50 | 50 | 11 | 1 | 0 | 240
R | TELEPHONE AND DATA SYSTEM | C | Telephone junction box, 300 x 300 x 150mm | No | 8 | 8 | 12 | 12 | 16 | 16 | 0 | 0 | 0 | 72
R | TELEPHONE AND DATA SYSTEM | D | Ref. ONU, Optical network unit (12U cabinet) (600 x 600 x 150mm) | No | 4 | 4 | 6 | 6 | 8 | 8 | 0 | 0 | 0 | 36
R | TELEPHONE AND DATA SYSTEM | E | 50 PVC conduit to 1st and 2nd floors | m | 40 | 40 | 60 | 60 | 80 | 80 | 0 | 0 | 0 | 360
R | TELEPHONE AND DATA SYSTEM | F | 2 x 50 PVC conduit | m | 40 | 40 | 60 | 60 | 80 | 80 | 0 | 0 | 0 | 360
R | TELEPHONE AND DATA SYSTEM | G | Junction box for AV/ICT, 300 x 300 x 150mm | No | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 3
R | TELEPHONE AND DATA SYSTEM | K | 42U ICT/AV Rack complete with active and passive components with rack mounted UPS | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
R | TELEPHONE AND DATA SYSTEM | L | 9U ICT Rack wall mounted complete with active and passisve components with 2kVA UPS | No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1
R | TELEPHONE AND DATA SYSTEM | M | 100mm dia. uPVC duct for ICT/AV cables | No | 0 | 0 | 0 | 0 | 0 | 0 | 76 | 0 | 0 | 76
R | TELEPHONE AND DATA SYSTEM | N | 2 x 100mm dia. uPVC duct for ICT/AV cables | No | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 10
R | TELEPHONE AND DATA SYSTEM | P | ELV Manhole 600 x 600 x 800mm Grade A cover | No | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 6
R | SECURITY - CCTV SYSTEM | A | 120% Identification Camera | No | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 1 | 0 | 5
R | SECURITY - CCTV SYSTEM | B | 50% Recognition Camera | No | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 4 | 0 | 8
R | SECURITY - CCTV SYSTEM | C | 25% Observation Camera | No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
R | SECURITY - CCTV SYSTEM | D | 10% Detection Camera | No | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 1 | 0 | 24
R | SECURITY - CCTV SYSTEM | E | 5% Monitoring Camera | No | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2
R | SECURITY - CCTV SYSTEM | F | 20% ANPR Camera | No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 4
R | SECURITY - CCTV SYSTEM | G | 9U Security rack, complete with active and passive components, 2kVA UPS | No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1
R | SECURITY - CCTV SYSTEM | H | 15U Security rack, complete with active and passive components, 2kVA UPS | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
R | SECURITY - CCTV SYSTEM | J | Full-pledged edged-built AI and analytics enabled to cameras | No | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 4
R | SECURITY - CCTV SYSTEM | K | Pole for external CCTV camera | No | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 4 | 0 | 7
R | SECURITY - CCTV SYSTEM | L | Junction Box, 300mm x 150mm for security system | No | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 3
R | SECURITY - CCTV SYSTEM | M | 100mm diameter underground uPVC ducts | m | 0 | 0 | 0 | 0 | 0 | 0 | 76 | 0 | 0 | 76
R | SECURITY - ACCESS CONTROL SYSTEM | A | Card Reader | No | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 1 | 0 | 8
R | SECURITY - ACCESS CONTROL SYSTEM | B | Long Range Card Reader | No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2
R | SECURITY - ACCESS CONTROL SYSTEM | C | Face Recognition Access + Card Reader | No | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2
R | SECURITY - ACCESS CONTROL SYSTEM | D | Break Glass | No | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 1 | 0 | 10
R | SECURITY - ACCESS CONTROL SYSTEM | E | Push Button | No | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 1 | 0 | 10
R | SECURITY - ACCESS CONTROL SYSTEM | F | Door Contact | No | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 1 | 0 | 16
R | SECURITY - ACCESS CONTROL SYSTEM | G | Electro Magnetic Lock | No | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 1 | 0 | 16
R | SECURITY - ACCESS CONTROL SYSTEM | H | Access Control System Panel | No | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 3
R | SECURITY - ACCESS CONTROL SYSTEM | J | Access Control Pole | No | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 6
R | SECURITY - ACCESS CONTROL SYSTEM | L | Gate Barier complete with safety loop | No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 4
R | complete; all in accordance with the Drawings and Specification | A | Ref. SP1, 6" Ceiling speaker 30W to TH1 | No | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 16
R | complete; all in accordance with the Drawings and Specification | B | Ref. SP2, Wall mounted speaker with tiltable bracket, 30W to TH1 | No | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 6
R | complete; all in accordance with the Drawings and Specification | C | Ceiling mounted subwoofer 50W to TH1 | No | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 4
R | complete; all in accordance with the Drawings and Specification | D | Active speaker with amplication for program reinforcement to TH1 | No | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 4
R | complete; all in accordance with the Drawings and Specification | E | 7" wired touch panel with multi zone volume and source control to TH1 | No | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 3
R | complete; all in accordance with the Drawings and Specification | F | Bluetooth XLR wall plate for local source connectivity (with bluetooth and analogue audio to Dante interface) | No | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 3
R | complete; all in accordance with the Drawings and Specification | G | AV Wall plate with apple pay, bluetooth connectivity, XLR audio pin & ccromecast under TV | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
R | complete; all in accordance with the Drawings and Specification | H | Professional soundbar with inbuilt subwoofer, WIFI connectivity, airplay, bluetooth, spottify, UNP & optical cable connectivity | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
R | complete; all in accordance with the Drawings and Specification | J | 65" Television display (Bezel-less display unit) with IP to HDMI decoder | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
R | complete; all in accordance with the Drawings and Specification | K | 55" Television display (Bezel-less display unit) with IP to HDMI decoder | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
R | AUDIO-VISUAL SYSTEM | A | Ref. SP1, 6" Ceiling speaker 30W to TH1 | No | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 16
R | AUDIO-VISUAL SYSTEM | B | Ref. SP2, Wall mounted speaker with tiltable 30W to TH1 | No | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 6
R | AUDIO-VISUAL SYSTEM | B | Ceiling mounted subwoofer 50W to TH1 | No | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 4
R | AUDIO-VISUAL SYSTEM | C | Active speaker with amplication for program reinforcement to TH3 | No | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 4
R | AUDIO-VISUAL SYSTEM | D | 7" wired touch panel with multi zone volume and source control to TH1 | No | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 3
R | AUDIO-VISUAL SYSTEM | E | Bluetooth XLR wall plate for local source connectivity (with bluetooth and analogue audio to Dante interface) | No | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 3
R | AUDIO-VISUAL SYSTEM | F | AV Wall plate with apple pay, bluetooth connectivity, XLR audio pin & ccromecast under TV | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
R | AUDIO-VISUAL SYSTEM | G | Professional soundbar with inbuilt subwoofer, WIFI connectivity, airplay, bluetooth, spottify, UNP & optical cable connectivity | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
R | AUDIO-VISUAL SYSTEM | H | 65" Television display (Bezel-less display unit) with IP to HDMI decoder | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
R | AUDIO-VISUAL SYSTEM | J | 55" Television display (Bezel-less display unit) with IP to HDMI decoder | No | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
R | SUNDRIES | A | Allow for liaison, co-ordination and attendance on Public Authorities work to meet the requirement of the Specification | Item | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 8
R | SUNDRIES | B | Allow for termination of DEWA cables | Item | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 8
R | SUNDRIES | C | Supports including fixings, anchors, insulating blocks, anti-vibration devices and the like | Item | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 8
R | SUNDRIES | D | Identification including plates, discs, labels, charts, colour coding and the like | Item | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 8
R | SUNDRIES | E | Tools and spares including loose keys and consumable stores | Item | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 8
R | SUNDRIES | F | Documents including drawings, operating instructions and maintenance manuals | Item | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 8
R | SUNDRIES | G | Testing and commissioning of Electrical system | Item | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 8
R | Testing and commissioning of Low current system | H | Incidental Works |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
R | Testing and commissioning of Low current system | J | Co-ordination with other engineering installations | Item | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 8
R | Testing and commissioning of Low current system | K | Cutting or forming holes, mortices, chases and the like and making good finishings | Item | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 8
R | Building in or cutting and pinning brackets and the like and making good finishings | L | Protective Painting |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
R | Building in or cutting and pinning brackets and the like and making good finishings | M | Decorative Painting |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
R | Building in or cutting and pinning brackets and the like and making good finishings | N | Decorative Painting to electrical engineering systems including cleaning and polishing exposed surfaces | Item | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 8
R | Hardscape | A | 300x150x80mm thick Concrete Pavers - Car porch | m² | 125 | 125 | 191 | 191 | 257 | 257 | 0 | 0 | 0 | 1146
R | Hardscape | B | 400x150x60mm thick Concrete Pavers - External Paving | m² | 100 | 110 | 113 | 113 | 127 | 135 | 0 | 0 | 0 | 698
R | Hardscape | C | Concrete kerb including concrete haunching and bedding | m | 81 | 81 | 90 | 90 | 103 | 103 | 0 | 0 | 0 | 548
R | Side Fence & Gate | D | 25x75mm Rectangular box aluminum fence, overall ht=1950mm | m | 12 | 11 | 9 | 9 | 9 | 9 | 0 | 0 | 0 | 59
R | Side Fence & Gate | E | Ref. AL04, Single leaf powdered coated fence door, size 1000mm W x 1950mm H | No | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 12
R | Power | F | 150mm Dia uPVC duct / conduit for power cables | m | 0 | 0 | 0 | 0 | 0 | 0 | 64 | 0 | 0 | 64
R | Power | G | 100mm Dia uPVC duct / conduit for power cables | m | 0 | 0 | 0 | 0 | 0 | 0 | 130 | 0 | 0 | 130
R | Power | H | Allow 2 x 150mm Dia uPVC duct for main incoming cables from DEWA / infra network | m | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 8
R | Power | J | Power manhole, minimum 600mm(L) x 600mm (W) x 1000 (D) | No | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 7
R | Fire Alarm | K | 50mm Dia uPVC duct / conduit for FA cables | m | 0 | 0 | 0 | 0 | 0 | 0 | 121 | 0 | 0 | 121
R | Telecommunication & Security | M | 100mm dia. uPVC duct for ICT/AV cables | No | 0 | 0 | 0 | 0 | 0 | 0 | 76 | 0 | 0 | 76
R | Telecommunication & Security | N | 2 x 100mm dia. uPVC duct for ICT/AV cables | No | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 10
R | Telecommunication & Security | P | ELV Manhole 600 x 600 x 800mm Grade A cover | No | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 6
R | Cluster TH01 | A | Boundary Wall, 200mm Hollow Blockwall (1375kg/m³) | m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4058 | 4058
R | Cluster TH01 | B | Boundary Wall, 300mm Hollow Blockwall (1850kg/m³) | m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 122 | 122
R | Cluster TH01 | C | Boundary Wall, 400mm Hollow Blockwall (1850kg/m³) | m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 180 | 180
R | Cluster TH01 | D | Boundary wall with 1800mm high metal fence, rear side | m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2777 | 2777
R | Cluster TH01 | E | Metal gate at rear boundary wall, 1000mm W | No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 384 | 384
R | SOIL IMPROVEMENT | A | Soil Improvement - Total for Cluster TH01 | Item | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
R | SOIL IMPROVEMENT | B | Cluster TH01: Cone Penetration Tests (CPTs) or Standard Penetration Tests (SPTs) verification, Refer Soil Report REF. NO. R3/DX24-081(TH01)-R01) | Item | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL

## Auto-mapped (194)
Section | Code | Description | Unit | Vendor | Vendor label
F | A | 530mm W x 1570mm L x 280mm H; to FF Master bathroom | No | 02_sanitaryware | Sanitaryware
F | B | 530mmW x 1200mmL x 280mmH; to FF Master bathroom | No | 02_sanitaryware | Sanitaryware
F | C | 530mm W x 1050mm L x 280mm H; to FF bathroom 1 | No | 02_sanitaryware | Sanitaryware
F | D | 530mm W x 900mm L x 280mm H; to GF guest bathroom | No | 02_sanitaryware | Sanitaryware
F | E | 530mm W x 900mm L x 280mm H; to FF bathroom 2 | No | 02_sanitaryware | Sanitaryware
F | F | 530mmW x 900mmL x 280mmH; to FF bathroom 1 | No | 02_sanitaryware | Sanitaryware
F | A | 500mm W x 1570mm L x 50mm H; to FF Master bathroom | No | 02_sanitaryware | Sanitaryware
F | B | 500mmW x 1200mmL x 50mmH; to FF Master bathroom | No | 02_sanitaryware | Sanitaryware
F | C | 500mm W x 1050mm L x 50mm H; to FF bathroom 1 | No | 02_sanitaryware | Sanitaryware
F | D | 500mm W x 900mm L x 50mm H; to GF guest bathroom | No | 02_sanitaryware | Sanitaryware
F | E | 500mm W x 900mm L x 50mm H; to FF bathroom 2 | No | 02_sanitaryware | Sanitaryware
F | F | 500mmW x 900mmL x 50mmH; to FF bathroom 1 | No | 02_sanitaryware | Sanitaryware
F | A | 200mm W x 950mm L x 20mm H; to FF master bathroom | No | 02_sanitaryware | Sanitaryware
F | B | 200mm W x 700mm L x 20mm H; to FF bathroom 1 | No | 02_sanitaryware | Sanitaryware
F | C | 200mm W x 700mm L x 20mm H; to FF bathroom 2 | No | 02_sanitaryware | Sanitaryware
F | D | 200mmW x 900mmL x 20mmH; to FF master bathroom | No | 02_sanitaryware | Sanitaryware
F | F | 200mm W x 700mm L x 20mm H; to GF guest bathroom | No | 02_sanitaryware | Sanitaryware
F | G | 200mmW x 710mmL x 20mmH; to FF bathroom 1 | No | 02_sanitaryware | Sanitaryware
F | B | 200mmW x 200mmL x 1260mmH; to FF master bathroom | No | 02_sanitaryware | Sanitaryware
F | C | 200mmW x 200mmL x 1260mmH; to FF bathroom 1 | No | 02_sanitaryware | Sanitaryware
F | D | 200mmW x 200mmL x 1260mmH; to GF guest bathroom | No | 02_sanitaryware | Sanitaryware
F | E | 200mmW x 200mmL x 1260mmH; to FF master bathroom | No | 02_sanitaryware | Sanitaryware
F | F | 200mmW x 200mmL x 1260mmH; to FF bathroom 1 | No | 02_sanitaryware | Sanitaryware
F | G | 200mmW x 200mmL x 1260mmH; to FF bathroom 2 | No | 02_sanitaryware | Sanitaryware
F | A | 200mm W x 1050mm L x 1260mm H; to FF bathroom 1 | No | 02_sanitaryware | Sanitaryware
F | B | 200mm W x 1170mm L x 1260mm H; to FF master bathroom | No | 02_sanitaryware | Sanitaryware
F | C | 200mm W x 920mm L x 1260mm H; to GF guest bathroom | No | 02_sanitaryware | Sanitaryware
F | D | 200mmW x 900mmL x 1260mmH; to FF bathroom 1 | No | 02_sanitaryware | Sanitaryware
F | E | 200mmW x 900mmL x 1260mmH; to FF bathroom 2 | No | 02_sanitaryware | Sanitaryware
F | G | 200mmW x 800mmL x 1260mmH; to FF master bathroom | No | 02_sanitaryware | Sanitaryware
G | C | Vertically; to wc & vanity areas, 1200mm high | m | 02_sanitaryware | Sanitaryware
G | D | Vertically; full ht up to suspended ceiling to shower areas | m² | 02_sanitaryware | Sanitaryware
H | B | D03, Single Leaf Timber Door, size 900mm W x 2200mm H, to Bathrooms | No | 02_sanitaryware | Sanitaryware
H | J | D04, Double Leaf Timber Folding Door, size 900mm W x 2200mm H, to Maid's Bathroom | No | 02_sanitaryware | Sanitaryware
H | A | Bathtub Glass Partition, size 800mm W x 1900mm H - 4bed bathroom 1 | No | 02_sanitaryware | Sanitaryware
H | B | Shower Glass Partition, size 1125mm W x 2400mm H including 1No of GL-01, Single Swing Glass Door size 700mm W x 2050mm H - 3bed master bathroom | No | 02_sanitaryware | Sanitaryware
H | C | Shower Glass Partition, size 1125mm W x 2400mm H including 1No of GL-01, Single Swing Glass Door size 700mm W x 2050mm H - 4bed master bathroom | No | 02_sanitaryware | Sanitaryware
H | C | Shower Glass Partition, size 1360mm W x 2400mm H including 1No of GL-01, Single Swing Glass Door size 700mm W x 2050mm H - 4bed bathroom 2 | No | 02_sanitaryware | Sanitaryware
H | A | Shower Glass Partition, size 1465mm W x 2400mm H including 1No of GL-01, Single Swing Glass Door size 700mm W x 2050mm H - 4bed guest bathroom | No | 02_sanitaryware | Sanitaryware
H | D | Shower Glass Partition, size 1450mm W x 2400mm H including 1No of GL-01, Single Swing Glass Door size 700mm W x 2050mm H - 3bed bathroom 01 | No | 02_sanitaryware | Sanitaryware
J | E | Ref. ST-103, Et Calacatta Gold Reconstituted Stone, 20mm thick, To Bathtub Top Ledge | m² | 02_sanitaryware | Sanitaryware
J | A | Two component solvent free pigmented high build epoxy floor coating system with a built up thickness of 1 mm, To Pump Room / MDB Room | m² | 12_kwh_mdb_db | KWH/MDB/DB
J | N | 310mm wide, laid to slop, to Handicap Toilet, at service block | m | 04_converged_network | Converged Network
J | N | Two component solvent free pigmented high build epoxy system suitable for vertical applications, 100mm high, To Pump Room / MDB Room | m | 12_kwh_mdb_db | KWH/MDB/DB
J | A | Ref. ST-104, Et Calacatta Gold Reconstituted Stone, 12mm thick - Kitchen & Bathroom Backsplash | m² | 02_sanitaryware | Sanitaryware
J | B | Ref. ST-105, Grey Emperador Polished Stone, 20mm thick, To Bathroom threshold stone continuation on wall holding shower glass, 100mm wide | m | 02_sanitaryware | Sanitaryware
J | C | Ref. ST-105, Grey Emperador Polished Stone, 20mm thick, To Bathroom threshold stone continuation on wall holding shower glass, 140mm wide | m | 02_sanitaryware | Sanitaryware
J | D | Ref. ST-105, Grey Emperador Polished Stone, 20mm thick, To Bathroom threshold stone continuation on wall holding shower glass, 150mm wide | m | 02_sanitaryware | Sanitaryware
J | E | Ref. ST-103, Et Calacatta Gold Reconstituted Stone, 200mm wide - Cistern Cover | m | 02_sanitaryware | Sanitaryware
J | G | Ref. ST-101, Et Calacatta Gold Reconstituted Stone, 200/210mm wide - Cistern Cover | m | 02_sanitaryware | Sanitaryware
J | E | Moisture resistant paint satin finish RAL 9010 to Pump / MDB Room | m² | 12_kwh_mdb_db | KWH/MDB/DB
K | A | Bathtub Ledge, size 1750mm L x 900mm W x 500mm H | No | 02_sanitaryware | Sanitaryware
K | B | Cistern enclosure, Size 890mm L x 200mm W x 1200mm H | No | 02_sanitaryware | Sanitaryware
K | C | Cistern enclosure, Size 900mm L x 200mm W x 1200mm H | No | 02_sanitaryware | Sanitaryware
K | D | Cistern enclosure, Size 905mm L x 200mm W x 1200mm H | No | 02_sanitaryware | Sanitaryware
K | E | Cistern enclosure, Size 970mm L x 200mm W x 1200mm H | No | 02_sanitaryware | Sanitaryware
K | A | Size 600mm W x 1000mm H, to Maid Bathroom | No | 02_sanitaryware | Sanitaryware
K | B | Size 400mm W x 800mm H, to Maid Bathroom | No | 02_sanitaryware | Sanitaryware
K | H | Ref. SW-09, Soap dispenser | No | 04_converged_network | Converged Network
K | N | Ref. SW-107, Soap Dispenser | No | 04_converged_network | Converged Network
K | U | Ref. SW-303, deck mounted touchless soap dispenser | No | 04_converged_network | Converged Network
K | Y | Ref. SW-307, wall mounted touchless soap dispenser | No | 04_converged_network | Converged Network
K | AA | Ref. SW-311, wall mounted shower seat | No | 02_sanitaryware | Sanitaryware
K | F | Ref. SW-318, wc back rest | No | 02_sanitaryware | Sanitaryware
K | G | Ref. SW-319, shower curtain rod | No | 02_sanitaryware | Sanitaryware
M | X | Ref. Lf-107, Shower Bench | No | 02_sanitaryware | Sanitaryware
Q | T | Bibb Tap, 15mm diameter | No | 02_sanitaryware | Sanitaryware
Q | F | Shower Linear Drain | No | 02_sanitaryware | Sanitaryware
Q | G | Balcony Drain with Built in Trap | No | 04_converged_network | Converged Network
Q | B | Dry Gully Trap, Ref. GT | No | 04_converged_network | Converged Network
Q | L | Sand Trap, (Ref. ST) | No | 04_converged_network | Converged Network
Q | N | Gully Trap, (Ref. GT) | No | 04_converged_network | Converged Network
Q | A | SW-100, Wash Basin Mixer | No | 02_sanitaryware | Sanitaryware
Q | B | SW-101, Wash Basin Mixer | No | 02_sanitaryware | Sanitaryware
Q | D | SW-103, Rain Shower Set | No | 02_sanitaryware | Sanitaryware
Q | E | SW-104, Hand Shower Set + Exposed Mixer | No | 02_sanitaryware | Sanitaryware
Q | F | SW-105, Rain Shower Set | No | 02_sanitaryware | Sanitaryware
Q | G | SW-200, Wall Mounted Water Closet | No | 02_sanitaryware | Sanitaryware
Q | H | SW-200.1, Concealed Cistern Tank | No | 02_sanitaryware | Sanitaryware
Q | J | SW-201, Undercounter Wash Basin | No | 02_sanitaryware | Sanitaryware
Q | K | SW-202, Undermount Bathtub | No | 02_sanitaryware | Sanitaryware
Q | L | SW-203, Floor Standing Water Closet | No | 02_sanitaryware | Sanitaryware
Q | M | SW-204, Wall Mounted Wash Basin | No | 02_sanitaryware | Sanitaryware
Q | N | SW-205, Shower Tray | No | 02_sanitaryware | Sanitaryware
Q | R | SW-309, Linear Shower Drain Cover | No | 02_sanitaryware | Sanitaryware
Q | A | KW-100, Sink Mixer | No | 02_sanitaryware | Sanitaryware
Q | D | KW-101.1, Bottle Trap | No | 04_converged_network | Converged Network
Q | E | KE-101, Sink Mixer | No | 02_sanitaryware | Sanitaryware
Q | G | KE-103, Bottle Trap | No | 04_converged_network | Converged Network
Q | A | SW-100, Touchless Basin Mixer | No | 02_sanitaryware | Sanitaryware
Q | B | SW-101, Basin Mixer | No | 02_sanitaryware | Sanitaryware
Q | D | SW-103, Wall Mounted Shower Set | No | 02_sanitaryware | Sanitaryware
Q | E | SW-104, Wall Mounted Shower Set | No | 02_sanitaryware | Sanitaryware
Q | F | SW-105, Wall Mounted Mixer with Long Spout | No | 02_sanitaryware | Sanitaryware
Q | G | SW-200, Wall Mounted WC | No | 02_sanitaryware | Sanitaryware
Q | H | SW-200.1, Concealed Cistern Tank | No | 02_sanitaryware | Sanitaryware
Q | J | SW-201, Undercounter Wash Basin | No | 02_sanitaryware | Sanitaryware
Q | L | SW-203, Wall Mounted Wash Basin | No | 02_sanitaryware | Sanitaryware
Q | M | SW-204, Wall Mounted Water Closet | No | 02_sanitaryware | Sanitaryware
Q | R | SW-309, Tile Insert - Rectangular Shower Drain Cover | No | 02_sanitaryware | Sanitaryware
Q | S | Outdoor Shower | No | 02_sanitaryware | Sanitaryware
Q | A | SW-101, Wash Basin (Wall Mounted w/ Half Pedestal) | No | 02_sanitaryware | Sanitaryware
Q | B | SW-102, Water Closet (Floor Standing) | No | 02_sanitaryware | Sanitaryware
Q | C | SW-103, Wash Basin Mixer (Single Lever) | No | 02_sanitaryware | Sanitaryware
Q | F | SW-01, Wash Basin (Sink) | No | 02_sanitaryware | Sanitaryware
Q | G | SW-02, Wash Basin Mixer (Single Lever) | No | 02_sanitaryware | Sanitaryware
Q | H | SW-03, Water Closet (Floor Standing) | No | 02_sanitaryware | Sanitaryware
Q | H | Emergency Switch, (Ref. GD) | No | 16_wiring_accessories | Wiring Accessories
Q | B | Local Area Network with all the passive and active components like fiber and copper cables, patch Panels and Ethernet switches as well as the interface with the main data network | Item | 16_wiring_accessories | Wiring Accessories
Q | E | Gateways and routers | Item | 04_converged_network | Converged Network
Q | G | Field devices such as control valves, flow meters, actuators, switches, relays, detectors, and sensors | Item | 16_wiring_accessories | Wiring Accessories
R | A | Supply & Installation of kWH meter cabinet IP55, 400A TP MCCB, including installation of DEWA supplied kWH meter (for community center) | No | 12_kwh_mdb_db | KWH/MDB/DB
R | B | Supply & Installation of kWH meter cabinet IP55, 80A / 63ATP MCCB, including installation of DEWA supplied kWH meter (for TH-Plex) | No | 12_kwh_mdb_db | KWH/MDB/DB
R | C | Supply & Installation of kWH meter cabinet IP55, 40ATP MCCB, including installation of DEWA supplied kWH meter (for GR) | No | 12_kwh_mdb_db | KWH/MDB/DB
R | A | DB-CH, 21.67kW | No | 12_kwh_mdb_db | KWH/MDB/DB
R | B | DB-SB, 26.39kW | No | 12_kwh_mdb_db | KWH/MDB/DB
R | C | DB-GYM & YOGA, 38kW | No | 12_kwh_mdb_db | KWH/MDB/DB
R | D | DB-PUMP ROOM, 8kW | No | 12_kwh_mdb_db | KWH/MDB/DB
R | E | DB-LS, 6kW | No | 12_kwh_mdb_db | KWH/MDB/DB
R | F | DB-GF (4B), 35kW | No | 12_kwh_mdb_db | KWH/MDB/DB
R | G | DB-FF (4B), 23kW | No | 12_kwh_mdb_db | KWH/MDB/DB
R | H | DB-GF (3B), 28kW | No | 12_kwh_mdb_db | KWH/MDB/DB
R | J | DB-FF (3B), 18.44kW | No | 12_kwh_mdb_db | KWH/MDB/DB
R | K | DB-GR, 15kW | No | 12_kwh_mdb_db | KWH/MDB/DB
R | L | 20A SPN Isolators | No | 08_isolators_scame | Isolators
R | M | 32A SPN Isolators | No | 08_isolators_scame | Isolators
R | N | 40A SPN Isolators | No | 08_isolators_scame | Isolators
R | P | 32A TPN Isolators | No | 08_isolators_scame | Isolators
R | Q | 40A TPN Isolators | No | 08_isolators_scame | Isolators
R | R | 63A TPN Isolators | No | 08_isolators_scame | Isolators
R | S | 200A TPN Isolators | No | 08_isolators_scame | Isolators
R | A | 100mm Dia uPVC duct / conduit for cables to DB-GFs | m | 12_kwh_mdb_db | KWH/MDB/DB
R | B | 50mm Dia uPVC duct / conduit for cables to DB-FFs | m | 12_kwh_mdb_db | KWH/MDB/DB
R | A | 13A Single Switched Socket Outlet | No | 16_wiring_accessories | Wiring Accessories
R | B | 13A Single Switched Socket Outlet WP | No | 16_wiring_accessories | Wiring Accessories
R | C | 13A Twin Switched Socket Outlet | No | 16_wiring_accessories | Wiring Accessories
R | D | 13A Single Switched Socket Outlet with USB | No | 16_wiring_accessories | Wiring Accessories
R | F | 13A Unswitched Fused Spur Outlet | No | 16_wiring_accessories | Wiring Accessories
R | G | 13A Unswitched Fused Spur Outlet, W/P | No | 16_wiring_accessories | Wiring Accessories
R | H | 13A Switched Fused Spur Outlet | No | 16_wiring_accessories | Wiring Accessories
R | J | 20A DP Switch with Neon Sign Indicator | No | 16_wiring_accessories | Wiring Accessories
R | L | 13A Switched Spur Outlet with Neon Sign Indicator for A/C Unit | No | 16_wiring_accessories | Wiring Accessories
R | N | Floor Box (13A Single Socket) | No | 16_wiring_accessories | Wiring Accessories
R | A | 13A Single Switched Socket Outlet | No | 16_wiring_accessories | Wiring Accessories
R | B | 13A Single Switched Socket Outlet WP | No | 16_wiring_accessories | Wiring Accessories
R | C | 13A Twin Switched Socket Outlet | No | 16_wiring_accessories | Wiring Accessories
R | D | 13A Single Switched Socket Outlet with USB | No | 16_wiring_accessories | Wiring Accessories
R | F | 13A Unswitched Fused Spur Outlet | No | 16_wiring_accessories | Wiring Accessories
R | G | 13A Unswitched Fused Spur Outlet, W/P | No | 16_wiring_accessories | Wiring Accessories
R | H | 13A Switched Fused Spur Outlet | No | 16_wiring_accessories | Wiring Accessories
R | J | 20A DP Switch with Neon Sign Indicator | No | 16_wiring_accessories | Wiring Accessories
R | L | 13A Switched Spur Outlet with Neon Sign Indicator for A/C Unit | No | 16_wiring_accessories | Wiring Accessories
R | N | Floor Box (13A Single Socket) | No | 16_wiring_accessories | Wiring Accessories
R | A | 10A 1Way 1Gang lighting switch | No | 16_wiring_accessories | Wiring Accessories
R | B | 10A 1Way 1Gang lighting switch, W/P | No | 16_wiring_accessories | Wiring Accessories
R | C | 10A 1Way 2Gang lighting switch | No | 16_wiring_accessories | Wiring Accessories
R | D | 10A 2Way 1Gang lighting switch | No | 16_wiring_accessories | Wiring Accessories
R | E | 10A 2Way 2Gang lighting switch | No | 16_wiring_accessories | Wiring Accessories
R | F | 10A 1Way 3Gang lighting switch | No | 16_wiring_accessories | Wiring Accessories
R | G | 10A 2Way 3Gang lighting switch | No | 16_wiring_accessories | Wiring Accessories
R | J | 13A Override switch | No | 16_wiring_accessories | Wiring Accessories
R | K | 13A 1Way 1Gang microswitch | No | 16_wiring_accessories | Wiring Accessories
R | L | Photocell sensor + timer + override switch - for external lighting | No | 16_wiring_accessories | Wiring Accessories
R | A | 10A 1Way 1Gang lighting switch | No | 16_wiring_accessories | Wiring Accessories
R | B | 10A 1Way 1Gang lighting switch, W/P | No | 16_wiring_accessories | Wiring Accessories
R | C | 10A 1Way 2Gang lighting switch | No | 16_wiring_accessories | Wiring Accessories
R | D | 10A 2Way 1Gang lighting switch | No | 16_wiring_accessories | Wiring Accessories
R | E | 10A 2Way 2Gang lighting switch | No | 16_wiring_accessories | Wiring Accessories
R | F | 10A 1Way 3Gang lighting switch | No | 16_wiring_accessories | Wiring Accessories
R | G | 10A 2Way 3Gang lighting switch | No | 16_wiring_accessories | Wiring Accessories
R | J | 13A Override switch | No | 16_wiring_accessories | Wiring Accessories
R | K | 13A 1Way 1Gang microswitch | No | 16_wiring_accessories | Wiring Accessories
R | L | Photocell sensor + timer + override switch - for external lighting | No | 16_wiring_accessories | Wiring Accessories
R | A | Smoke detector wireless with built-in sounder | No | 15_fire_alarm_ateis | Fire Alarm
R | B | Heat detector wireless with buil-in sounder | No | 15_fire_alarm_ateis | Fire Alarm
R | D | Fire alarm Hassantuk control panel ATE/4G/GSM | No | 15_fire_alarm_ateis | Fire Alarm
R | E | Fire alarm repeater panel | No | 15_fire_alarm_ateis | Fire Alarm
R | F | Intelligent optical smoke detector with built-in isolator | No | 08_isolators_scame | Isolators
R | G | Intelligent optical smoke detector with remote indicator and built-in isolator | No | 08_isolators_scame | Isolators
R | H | Intelligent heat detector with built-in isolator | No | 08_isolators_scame | Isolators
R | J | Manual call point with built-in isolator | No | 08_isolators_scame | Isolators
R | K | Manual call point with built-in isolator, W/P | No | 08_isolators_scame | Isolators
R | M | Fire alarm sounder flasher W/P | No | 15_fire_alarm_ateis | Fire Alarm
R | N | Fire alarm sounder or horn with flasher W/P | No | 15_fire_alarm_ateis | Fire Alarm
R | Q | Fire alarm control panel at service block | No | 15_fire_alarm_ateis | Fire Alarm
R | R | Fire alarm control panel at guard house | No | 15_fire_alarm_ateis | Fire Alarm
R | T | Fire alarm device points | No | 15_fire_alarm_ateis | Fire Alarm
R | V | Cabling to fire alarm repeater panel | No | 15_fire_alarm_ateis | Fire Alarm
R | E | Intercom indoor unit, provision-containment only | No | 14_video_intercom_comelit | Video Intercom
R | F | Intercom outdoor unit, provision-containment only | No | 14_video_intercom_comelit | Video Intercom
R | H | Wireless access point ceiling mounted | No | 04_converged_network | Converged Network
R | J | Wireless access point wall mounted, W/P | No | 04_converged_network | Converged Network
R | K | Secuirty Intercom | No | 14_video_intercom_comelit | Video Intercom
R | L | Fire alarm manhole, 600mm(L) x 600mm (W) x 800 (D) | No | 15_fire_alarm_ateis | Fire Alarm

## Notes
TH1 (Equiterra 2) — BOQ take-off sheet for manual pricing
Sheet "Take-off (449 manual)": | 449 MEP line items (Sections Q: Mechanical, R: Electrical) that could NOT be auto-mapped to framework vendor rates.
Fill column P "Rate (AED)" — Amount (col Q) auto-calculates = Rate × Total Qty.
Quantities (cols F–N) are per building type; Total Qty (col O) = sum. Verified identical in Rev.01 and TA4.
Sheet "Auto-mapped (194)": | For reference — line items already matched to a framework vendor (sanitaryware, wiring, KWH/MDB/DB, converged network, isolators, fire alarm, intercom).
Suggested pricing order: | 1) Pull vendor rates from the framework agreements (see html dashboard). 2) Enter rates in col P. 3) Review group subtotals by filtering the Group column.
Prepared by hudhud — 2026-09-16. Source: GPCR Cluster TH1 BOQ Rev.01 (quantities cross-checked vs TA4).